## L-Bend Analyzer
ASME B31.3 Piping L-Bend Stress Compliance Analyzer
Interactive formula-based solver. Edit values in yellow cells; output updates instantly.
1. DESIGN INPUTS |  |  | 4. FLEXIBILITY / COMPATIBILITY MATRIX
Horizontal Run Length (L1) | 5 | m | Flexibility f_iX | Flexibility f_iY | Flexibility f_iM | Load Vector d_i
Vertical Run Length (L2) | 4 | m
Pipe Outer Diameter (OD) | 0.1143 | m
Nominal Wall Thickness (t) | 0.00602 | m |  |  |  | 0
Temperature Change (dT) | 150 | °C
Internal Design Pressure (P) | 0 | Pa | 5. SOLVED ANCHOR 2 REACTIONS
Young's Modulus (E) | 200000000000 | Pa | Reaction Component | Solved Force/Moment | Unit
Shear Modulus (G) | 77000000000 | Pa | Fx (Horizontal Reaction Force) |  | N
Thermal Expansion Coeff (alpha) | 1.2e-05 | 1/°C | Fy (Vertical Reaction Force) |  | N
Cold Allowable Stress (Sc) | 137900000 | Pa | Mz (Bending Moment) |  | N-m
Hot Allowable Stress (Sh) | 137900000 | Pa
6. ASME B31.3 STRESS COMPLIANCE REPORT
2. SECTION PROPERTIES |  |  | Node | Bending Moment (N-m) | Axial Force (N) | Sustained Stress (Pa) | Sustained Allowable (Pa) | Sustained Ratio | Expansion Stress (Pa) | Expansion Allowable (Pa) | Expansion Ratio | Max Ratio | Status
Outer Radius (ro) |  | m | 0 (Anchor 1)
Inner Radius (ri) |  | m | 1 (Corner Elbow)
Cross-sectional Area (A) |  | m² | 2 (Anchor 2)
Moment of Inertia (I) |  | m⁴
Section Modulus (Z) |  | m³
Pressure Long. Stress (SL_pr) |  | Pa
Allowable Expansion Stress (SA) |  | Pa
3. THERMAL EXPANSION
Free X Deflection (dx_th) |  | m
Free Y Deflection (dy_th) |  | m